## Sheet1
Participating Institution: | RAL Space
Date of Analysis: | 2010-10-13
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Dome-1
Site Latitude: | -78.5933
Site Longitude: | 120.2648
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01 |  |  | This field is optional and only concerns situations where a relative band to band ratio within the same sensor is being compared. For example for a vegetation index or Ocean colour application and in this case is analagous to the reference when results are declared in the ratio column
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version:
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance:
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2008-11-02 | 2010-02-16
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Sensor secondary band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 555 | 20 |  |  | 25.4177 | 8.3181 | 1.0276 | 0.0072 | 42 | 0.001111
| V659 | 659 | 20 |  |  | 26.7018 | 8.3104 | 1.0192 | 0.0075 | 42 | 0.0011573
| V870 | 870 | 20 |  |  | 25.9726 | 7.6947 | 1.0258 | 0.0077 | 42 | 0.0011881
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)