## Slide 1
PICS Characterization Joint Effort
You are welcome!

## Slide 2: CNES PICS

## Slide 3: PICS Characterization
    Reflectance level and reflectance stability over years
    Spatial uniformity
    Spectral characterization
    Directional characterization
    Cloud coverage and atmosphere stability (aerosol…)

## Slide 4: Mean Reflectance
Sites listed from the brighter to the darker in band 865 nm
Sites listed from the brighter to the darker in band 443 nm
Mean reflectance computed over a 4-year time series of MERIS data

## Slide 5: Spatial uniformity
Relative standard deviation on the TOA reflectance over the site for a 4-years MERIS archive (in %)

## Slide 6
MERIS
MODIS
Spectral Behaviour
BOA reflectance mean values derived
from MERIS (2006-2009) and MODIS (2002-2011)

## Slide 7
MERIS
MODIS
Spectral Behaviour
BOA reflectance normalized by 670 nm band

## Slide 8: BRDF Modeling

## Slide 9: Directional effects
VGT2 – Libya 4 – TOA Reflectance

## Slide 10: Directional effects
VGT2 – Libya 4 – TOA Reflectance

## Slide 11: Directional effects
VGT2 – Libya 4 – TOA Reflectance

## Slide 12: TOA or BOA ?
VGT2 – Libya 4 – TOA Reflectance

## Slide 13: TOA or BOA ?
VGT2 – Libya 4 – BOA Reflectance

## Slide 14: TOA or BOA ?

## Slide 15: TOA or BOA ?

## Slide 16: Different sensors geometry
    MERIS acquisition conditions viewing geometry (θv, φv) in green - sun geometry (θs, φs) in yellow

## Slide 17: Different sensors geometry
    VGT acquisition conditions viewing geometry (θv, φv) in green - sun geometry (θs, φs) in yellow

## Slide 18: Different sensors geometry
    MODIS acquisition conditions viewing geometry (θv, φv) in green - sun geometry (θs, φs) in yellow

## Slide 19: Different sensors geometry
    SeaWiFS acquisition conditions viewing geometry (θv, φv) in green - sun geometry (θs, φs) in yellow

## Slide 20: Different sensors geometry
    PARASOL acquisition conditions viewing geometry (θv, φv) in green - sun geometry (θs, φs) in yellow

## Slide 21: Representation of qv and Df for acquisitions over Libya-4
MERIS MODIS VGT
PARASOL

## Slide 22: BRDF Modeling by iterative Process

## Slide 23: Libya-4 670 nm
Before filtering
After filtering
15°< θs <25°
sig_0 = 0,021
sig_6 = 0,014
Relative difference between measured and modeled data

## Slide 24: Libya-4 670 nm
Relative difference between measured and modeled data
45°< θs <55°
sig_0 = 0,029
sig_6 = 0,019
Before filtering
After filtering

## Slide 25: Libya-4 670 nm
45°< θs <55°
Surface reflectance
BRDF Model

## Slide 26
Validation with MERIS 665 nm – SNYDER Model

## Slide 27
Validation with MODIS 645 nm – SNYDER MODEL

## Slide 28
Validation with VGT2 B2 – SNYDER MODEL