## Slide 1
M. Bachmann, C. Frey et al. DLR German Aerospace Centre
… first a few words on DLRs
TIMELINE Project >30 years of AVHRR HRPT data
L0 - L1b - L2a (atm+brdf) – L3 products

## Slide 2: Translation of objectives into requirements
TIMELINE objectives
Homogeneity / Consistency
Reproducibility
Transparency
Scientific reliability
Generic approach
Satellite input data
Auxiliary data
Algorithms
Documentation
Archiving
Configuration management
Documentation
Versioning / Change management
State of the art algorithms
State of the art auxiliary data
Quality layer
Validation
Processing architecture
Processor design
Notes: Satellite input data
Auxiliary data
Algorithms
Consideration of different sensors

## Slide 3
01-08-1990
02-08-1990
02-08-1990
03-08-1990
04-08-1990
04-08-1990
05-08-1990
06-08-1990
07-08-1990
08-08-1990

## Slide 4: L1b: The TIMELINE harmonization approach
Libya 4
NOAA-19, July 2012
Algeria 3
NOAA-19, March 2012
Reference data base | Normalized apparent TOA reflectances | Harmonisation based on time series | Harmonisation factors
NOAA-16 | Gain | Offset
2011260 | 23.543 | 32.523
2011261 | 24.257 | 33.346
2011262 | 23.832 | 33.643
2011263 | 23.963 | 33.245
2011264 | 26.258 | 32.654
211265 | 22.378 | 31.214
211266 | 23.472 | 31.532
2011267 | 23.832 | 33.643
2011268 | 23.963 | 33.245
2011269 | 26.258 | 32.654
2011270 | 26.258 | 32.654
NOAA-17 | Gain | Offset
2011260 | 23.543 | 32.523
2011261 | 24.257 | 33.346
2011262 | 23.832 | 33.643
2011263 | 23.963 | 33.245
2011264 | 26.258 | 32.654
211265 | 22.378 | 31.214
211266 | 23.472 | 31.532
2011267 | 23.832 | 33.643
2011268 | 23.963 | 33.245
2011269 | 26.258 | 32.654
2011270 | 26.258 | 32.654
NOAA-18 | Gain | Offset
2011260 | 23.543 | 32.523
2011261 | 24.257 | 33.346
2011262 | 23.832 | 33.643
2011263 | 23.963 | 33.245
2011264 | 26.258 | 32.654
211265 | 22.378 | 31.214
211266 | 23.472 | 31.532
2011267 | 23.832 | 33.643
2011268 | 23.963 | 33.245
2011269 | 26.258 | 32.654
2011270 | 26.258 | 32.654
AVHRR specific data harmonisation due to calibration errors and differences in spectral characteristics of the AVHRR sensors.
Harmonisation flow
Conversion
flow
Notes: This approach does not correct for sensor drift! This is being implemented AFTER the atmospheric correction
Quelle:
http://calval.cr.usgs.gov/rst-resources/sites_catalog/

## Slide 5: L1b – Radiometric Harmonization using Time Series
Challenges:
NOAA OSPO radiometric calibration not perfect, no „smooth“ signal over time
Strong influence of surface BRDF and solar / view angles overlaying sensor radiometry
Solutions:
Harmonize radiometry of time series using CEOS pseudo-invariant desert sites
Inclusion of BRDF models
Interlink with standard DBs, i.e. ESA DIMITRI & CNES SADE / PICS
Figures for CEOS Algeria 3, Channel 1: Top: NOAA-14 time series (1995-2000). Bottom: ~9700 observations for 1982-2014

## Slide 6
M. Bachmann, M. Schneider, M. Habermeyer, G. Palubinskas, J. Bieniarz, B. Gerasch, H. Witt, H. Krawczyk DLR German Aerospace Centre
L. Guanter, A. Hollstein, K. Segl
GFZ Deutsches GeoForschungsZentrum
DataQC / Cal / Val / Mon procedures within the EnMAP Ground Segment

## Slide 7: Mission and Instrument Characteristics
VNIR Detector Array
420 nm <  < 1000 nm
Signal-To-Noise: >500 @ 495 nm
Sampling: 6.5 nm
Thermally controlled to 0.1 K
FPA: Complementary Metal Oxide Semiconductor CMOS
Spatial 1000
Spatial 1000
Total Length per Day: > 5000 km
Maximum Track Length: 1000 km
Swath Width: 30 km
Ground Pixel Size: 30 m × 30 m
EnMAP Satellite
Operational Lifetime: >5 years
Orbit: 643 km @ 48°N
(Sun-Synchronous)
Local Crossing Time Descending Node:
11:00 hrs ± 15 min
Inclination: 97.96°
Orbit Period: ~ 98 minutes
SWIR Detector Array
900 nm <  < 2450 nm
Signal-To-Noise: >170 @ 2200 nm
Sampling: 10 nm
Actively cooled: 150 K
FPA: Mercury Cadmium Telluride
Pointing Capability: ±30° (±5°)
Target Revisit Time: 4 days (23 days)
FOV Separation
88 msec or 600 m
Dynamic range 14 bit
X-Band Downlink
320 Mbps
Spectral 134
Spectral 94
Guanter et al., Remote Sensing, 2015

## Slide 8: Project Partners

## Slide 9: History and Current Status
  2005 Phase A study accomplished
  2006 Start of phase B
  2007 End of phase B
  2008 Start of phase C/D
  2010 CDR Ground Segment
  2012 System CDR
  2016 Start Phase D, GS deltaCDR successfully completed
  2019 Launch date

## Slide 10: Instrument Calibration & Monitoring (Subsystems & Instrument Team)

## Slide 11: Parameter des Satelliten
Propellant Tank (50 kg) of hydrazine propulsion system
Gyros (10 Hz)
GPS (1 Hz)
GPS Receiver (1 Hz)
Reaction Wheels
(3 axis stabilized platform)
SWIR Spectrometer
SWIR FPA redundant
SWIR FPA nominal
Calibration Assembly
VNIR FPA
VNIR Spectrometer
Earth
Sun

## Slide 12: Vibration Test / Clean Room-Bench

## Slide 13
Onboard Calibration Sources
Notes:   Completed tasks
  Sources preselection
  Start characterization of sources
  verification of mathematical model of sphere
  Achievements
  Concept Design
  LED junction temperature measurements
  Problems
  Temperature control LED, (junction temperature measurements, thermal design)
  Mounting of lamps (Sphere characterization)
  ECP for additional detector LEDs open
  Outlook
  Photodiode procurement
  Sphere characterization and Design optimization
  Detailed charaterization sources
  Modelling of spectral calibration
  Definition of IPU source performance characteristics

## Slide 14: In-flight Calibration Frequencies
in total: ~ 11 TB

## Slide 15: In-flight Calibration Frequencies

## Slide 16: Sun Calibration using Shutter Mechanism Life-Limited-Item: Measurement frequency optimized
t
average trend line: mav
max. trend line: mmax
requirement
Δt
tn new calibration measurement request
tn+1
Δt: estimated time to generate
calibration table (5-7 days incl. downlink)
new average trend line after
calibration measurement at time tn
to determine current calibration
table generation time in order
to decide stop of data delivery or not
Δ = ||DNmeas – DNref||2min-max
t < tn+1
t = tn+1
Commisioning phase

## Slide 17: Data Quality Control within Pre-Processing Chain (Subsystems)

## Slide 18: Overview - Processing Chain

## Slide 19: EnMAP Level L0/L1b Processing – detailed steps
Bad (dead & suspicious) pixel flaging
Saturated pixel flagging (incl. blooming)
Non-linearity correction
Dark signal correction
RNU correction
Gain matching (VNIR)
Spectral referencing
Spectral / spatial straylight correction
Radiometric referencing
QL generation
Cloud-haze and land-water masks generation
L1c / L2a
Geometric correction (incl. keystone correction)
Atmospheric correction (incl. smile correction)

## Slide 20: Overview Processing Chain
Ensuring data quality:
Automated within processors
Interactive procedures
Independent validation @ GFZ

## Slide 21: EnMAP – Data Qality Indicators
Radiometry
  Artifacts related to radiometric calibration (striping, banding)
  Artifacts related to dual gain
Image properties
  Saturation (cross-talk, blooming)
  Other artifacts / suspicious pixel / repetitive pattern
  Error messages in virtual channel, sensor & processor log files
Environmental conditions during acquisition
  Sun elevation
  Percentage of cloud, haze, cirrus and cloud shadow
  Average scene visibility / AOT / WaterVapour
  Problems in atm. correction (e.g., # DDV pixels, meaningful aerosol type, …)
  Artifacts related to terrain correction / DEM
…

## Slide 22: Operational QC within pre-processing chains
Radiometry
  Artifacts related to radiometric calibration (striping, banding)
Examples using the airborne HySpex scanner (SWIR camera depicted)
BACHMANN et al., 2013: Extending DLR's operational data quality control (DataQC) to a new sensor - Results from the HySpex 2012 campaign EARSeL SIG-IS, Nantes, 2013.

## Slide 23: Detecting Striping Artefacts
spatial dimension
spectral dim.
Anomalous pix. at band 31, pixel 237
Normalized detector map of
HySpex scene
4x Zoom

## Slide 24: Geometric Processing using Reference Images
Original image
Reference image
DEM
Ortho image
Matching
Tie points
GCP / ICP
Improvements of model parameters
Generation of ortho image
Original images
Reference image database
(Image2006/Landsat)
DEM database (w42)
Data Delivery
Metadata
ephemeris
attitude
sensor
time
RPC
….
RMSE/CE90 check against
Requirement (< 3 GSD)
Notes: Probleme bei Qualität z.B. ungünstige Bewölkung, starke Änderungen von Referenz zu neuem Bild
Prozessor generell auch für Flugzeugdaten geeignet

## Slide 25: Uncertainty studies – first example
Assuming a stability of ± 2.5% in radiometric gain:
  related uncertainty in ground reflectance is ~ 2.5% (relative) for bands >700nm
  absolute variations are surface-dependent, e.g. a spread of up to 8 % reflectance (absolute) for bright vegetation in the NIR
Scenario: spectral shift of ± 2 nm (=> EnMAP requirement < 0.5 nm !):
  related uncertainty in ground reflectance is usually < 1%
  and ~3% (relative) at atm. absorption shoulders
  absolute variations significantly higher, esp. <700 nm & >2300 nm

## Slide 26: Uncertainty studies – first example
Assuming a stability of ± 2.5% in radiometric gain:
  related uncertainty in ground reflectance is ~ 2.5% (relative) for bands >700nm
  absolute variations are surface-dependent, e.g. a spread of up to 8 % reflectance (absolute) for bright vegetation in the NIR
Scenario: spectral shift of ± 2 nm (=> EnMAP requirement < 0.5 nm !):
  related uncertainty in ground reflectance is usually < 1%
  and ~3% (relative) at atm. absorption shoulders
  absolute variations significantly higher, esp. <700 nm & >2300 nm

## Slide 27: External Validation @ GFZ

## Slide 28: External Validation @ GFZ
Establishing international partnerships for EnMAP Cal/Val activities (e.g., CEOS)
Ground-based comparison of EnMAP user products to in-situ reference measurements:
  Field campaigns with in-situ measurements of atmospheric and surface parameters.
  Benefit from joint effort with ground-based science activities.
Scene-based further validation from scene-based data analysis:
  User products and intermediate parameters to be analysed.
  Sophisticated models and image processing techniques involved.
  Activities considered “scientific” rather than “operational”

## Slide 29: Summary – Cal/Val/Mon/DataQC for EnMAP
Calibration & monitoring
  On-board calibration sources & sun calibration
  Procedures taking into account life-limited items
DataQC within pre-processing chain
  Integrated within L0/L1b / L1c / L2a processors
  Generation of QC-related metadata, QC flags + reports
  Interactive procedures for additional parameters
Independent validation
  Incl. ground-based CalVal activities

## Slide 30: Thank you very much for your attention!
enmap.org