## Slide 1: Vocabulary and terms Emma Woolliams

## Slide 2
Error
is not
Uncertainty
the same as

## Slide 3: Official Vocabulary
http://www.bipm.org/en/publications/guides/
International Vocabulary of Metrology (VIM)
By the Joint Committee for Guides in Metrology

## Slide 4: Unofficial vocabulary (projects)
http://www.fiduceo.eu/vocabulary
GAIA-CLIM and QA4ECV (see html file)

## Slide 5: Harmonisation not homogenisation
Band Integrated Radiance
Time (years)
Notes: EMMA

## Slide 6: Bias correction and recalibration
Operational radiance
Use match-ups to determine biases
Add a bias correction to operational radiance
RAW DATA & reference radiance
Use match-ups to determine measurement equation parameters
Recalculate radiance from RAW data

## Slide 7: Data correlation structures
Random
Systematic
Structured random
Locally systematic

## Slide 8: Word categories
Metrology
Calibration and validation
Satellite data
Geophysical
Quality
Other?

## Slide 9: Metrology
(Metrological) Traceability, SI traceability
Measurement, measurand, measurement result, measured value
Uncertainty, error, effect, standard uncertainty, expanded uncertainty, bias, correction, accuracy, precision
Random / Systematic / Structured random
Traceability chain
Measurement equation, measurement model
Fiducial, community reference

## Slide 10: Calibration and validation
Calibration, recalibration, intercalibration
Vicarious calibration, harmonisation, homogenisation
Sensor bias correction, interoperable
Validation, product validation
Radiometric calibration, geometric calibration
SNO, match-up,
In situ measurement
PICS, RadCalNet, DCC, Rayleigh, …

## Slide 11: Satellite data
Level 1, Level 2, Level 3, …
Swath, image, scanline,
Geo-rectification, geo-location, geo-referenced, projection, gridding, regridding
Ground sampling distance,
Fundamental Climate Data Record, Climate Data Record, Essential Climate Variable
Meta data, ancillary data, auxiliary data

## Slide 12: Geophysical
Representativeness, Point-to-area representativeness
Variance
Reproducibility
Scene normalisation

## Slide 13: Quality
Fiducial
Procedure
Process validation
ATBD
Quality, Quality Assurance, Quality Assessment
Quality control
Quality indicator
Documentary traceability
Verification