## AATSR-MERIS Algeria 1
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Algeria1
Site Latitude: | 23.8
Site Longitude: | -0.4
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 21.7206 | 3.0188 | 1.0158 | 0.0127 | 53 | 0.0017445
| V659 | 660 | 20 | 659 | 9.96 | 31.5793 | 4.5323 | 0.9982 | 0.0083 | 55 | 0.0011192
| V870 | 863 | 20 | 870 | 19.9 | 38.8934 | 5.6026 | 1.0215 | 0.0078 | 55 | 0.0010518
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Algeria 2
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Algeria2
Site Latitude: | 26.09
Site Longitude: | -1.38
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 22.4027 | 3.4584 | 1.0276 | 0.006 | 53 | 0.00082416
| V659 | 660 | 20 | 659 | 9.96 | 34.6887 | 5.326 | 1.0043 | 0.0056 | 55 | 0.0007551
| V870 | 863 | 20 | 870 | 19.9 | 41.8062 | 6.5037 | 1.0277 | 0.0057 | 55 | 0.00076859
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Algeria 3
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Algeria3
Site Latitude: | 30.32
Site Longitude: | 7.66
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 20.9444 | 2.3258 | 1.034 | 0.0062 | 110 | 0.00059115
| V659 | 660 | 20 | 659 | 9.96 | 35.711 | 4.2077 | 1.0008 | 0.0044 | 109 | 0.00042144
| V870 | 863 | 20 | 870 | 19.9 | 43.9386 | 5.2751 | 1.026 | 0.0049 | 107 | 0.0004737
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Algeria 4
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Algeria 4
Site Latitude: | 30.04
Site Longitude: | 5.59
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 23.2912 | 1.496 | 1.0348 | 0.008 | 77 | 0.00091168
| V659 | 660 | 20 | 659 | 9.96 | 38.8211 | 2.6009 | 1.001 | 0.0058 | 75 | 0.00066973
| V870 | 863 | 20 | 870 | 19.9 | 48.5945 | 2.5801 | 1.0256 | 0.0051 | 73 | 0.00059691
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Algeria 5
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Algeria5
Site Latitude: | 31.02
Site Longitude: | 2.23
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 20.3237 | 2.7766 | 1.0308 | 0.0065 | 105 | 0.00063434
| V659 | 660 | 20 | 659 | 9.96 | 37.0826 | 5.0718 | 0.9997 | 0.0057 | 106 | 0.00055363
| V870 | 863 | 20 | 870 | 19.9 | 45.8427 | 6.4024 | 1.0271 | 0.0055 | 102 | 0.00054458
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Arabia1
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Arabia1
Site Latitude: | 18.88
Site Longitude: | 46.76
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 22.5332 | 2.1692 | 1.0276 | 0.0078 | 55 | 0.0010518
| V659 | 660 | 20 | 659 | 9.96 | 34.8635 | 3.5546 | 1.0026 | 0.0059 | 53 | 0.00081043
| V870 | 863 | 20 | 870 | 19.9 | 42.4758 | 4.609 | 1.0274 | 0.006 | 55 | 0.00080904
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Arabia2
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Arabia2
Site Latitude: | 20.13
Site Longitude: | 50.96
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 23.9607 | 2.6733 | 1.0266 | 0.007 | 104 | 0.00068641
| V659 | 660 | 20 | 659 | 9.96 | 34.4448 | 3.9276 | 1.0016 | 0.0064 | 99 | 0.00064322
| V870 | 863 | 20 | 870 | 19.9 | 41.108 | 4.8537 | 1.0272 | 0.0052 | 101 | 0.00051742
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Arabia3
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Arabia3
Site Latitude: | 28.92
Site Longitude: | 43.73
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 20.843 | 2.4238 | 1.0353 | 0.0078 | 85 | 0.00084603
| V659 | 660 | 20 | 659 | 9.96 | 32.2526 | 3.8572 | 1.0057 | 0.0045 | 83 | 0.00049394
| V870 | 863 | 20 | 870 | 19.9 | 39.6506 | 4.8264 | 1.0268 | 0.0048 | 80 | 0.00053666
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Sudan1
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Sudan1
Site Latitude: | 21.74
Site Longitude: | 28.22
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 24.4737 | 3.2376 | 1.0264 | 0.0072 | 160 | 0.00056921
| V659 | 660 | 20 | 659 | 9.96 | 36.755 | 4.7343 | 1.0036 | 0.0052 | 155 | 0.00041767
| V870 | 863 | 20 | 870 | 19.9 | 44.0757 | 6.0613 | 1.0297 | 0.0055 | 158 | 0.00043756
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Niger1
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Niger1
Site Latitude: | 19.67
Site Longitude: | 9.81
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 27.0709 | 2.7512 | 1.0275 | 0.0067 | 120 | 0.00061162
| V659 | 660 | 20 | 659 | 9.96 | 40.6218 | 4.2431 | 1.0038 | 0.0061 | 121 | 0.00055455
| V870 | 863 | 20 | 870 | 19.9 | 48.8429 | 5.2341 | 1.0293 | 0.0066 | 118 | 0.00060758
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Niger2
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Niger2
Site Latitude: | 21.37
Site Longitude: | 10.59
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 22.3663 | 2.7561 | 1.0268 | 0.0064 | 142 | 0.00053708
| V659 | 660 | 20 | 659 | 9.96 | 33.2477 | 4.1462 | 1.0042 | 0.0059 | 144 | 0.00049167
| V870 | 863 | 20 | 870 | 19.9 | 40.2373 | 5.0958 | 1.0273 | 0.0066 | 140 | 0.0005578
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Libya1
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Libya1
Site Latitude: | 24.42
Site Longitude: | 13.35
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 27.0709 | 2.7512 | 1.0275 | 0.0067 | 120 | 0.00061162
| V659 | 660 | 20 | 659 | 9.96 | 40.6218 | 4.2431 | 1.0038 | 0.0061 | 121 | 0.00055455
| V870 | 863 | 20 | 870 | 19.9 | 48.8429 | 5.2341 | 1.0293 | 0.0066 | 118 | 0.00060758
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Libya2
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Libya2
Site Latitude: | 25.05
Site Longitude: | 20.48
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 29.208 | 2.2039 | 1.0307 | 0.005 | 85 | 0.00054233
| V659 | 660 | 20 | 659 | 9.96 | 42.0053 | 3.2201 | 1.0055 | 0.0052 | 86 | 0.00056073
| V870 | 863 | 20 | 870 | 19.9 | 50.8252 | 3.9465 | 1.0295 | 0.005 | 85 | 0.00054233
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Libya3
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Libya3
Site Latitude: | 23.15
Site Longitude: | 23.1
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 21.8005 | 2.1709 | 1.033 | 0.0061 | 129 | 0.00053708
| V659 | 660 | 20 | 659 | 9.96 | 36.9325 | 3.9801 | 1.0048 | 0.0055 | 130 | 0.00048238
| V870 | 863 | 20 | 870 | 19.9 | 44.5908 | 4.7763 | 1.0307 | 0.0042 | 126 | 0.00037417
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Libya4
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Libya4
Site Latitude: | 28.55
Site Longitude: | 23.39
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 27.2841 | 3.5216 | 1.0255 | 0.006 | 55 | 0.00080904
| V659 | 660 | 20 | 659 | 9.96 | 38.7372 | 4.9701 | 1.002 | 0.0041 | 52 | 0.00056857
| V870 | 863 | 20 | 870 | 19.9 | 47.1342 | 6.4784 | 1.0277 | 0.0041 | 52 | 0.00056857
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Mali1
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Mali1
Site Latitude: | 19.12
Site Longitude: | -4.85
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 27.2769 | 2.8196 | 1.0262 | 0.0069 | 41 | 0.0010776
| V659 | 660 | 20 | 659 | 9.96 | 40.7671 | 4.0112 | 1.0011 | 0.0059 | 38 | 0.00095711
| V870 | 863 | 20 | 870 | 19.9 | 47.6368 | 5.039 | 1.0286 | 0.0047 | 37 | 0.00077268
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Mauritania1
Participating Institution: | RAL Space
Date of Analysis: | 2011-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Mauritania1
Site Latitude: | 19.4
Site Longitude: | -9.3
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance (at 1AU): | 560nm | 1.8195 | Wm-2nm-1
| 660nm | 1.5219 | Wm-2nm-1
| 863nm | 0.95068 | Wm-2nm-1
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 22.875 | 2.82 | 1.0805 | 0.0564 | 52 | 0.0078213
| V659 | 660 | 20 | 659 | 9.96 | 37.6718 | 4.62 | 1.0123 | 0.0152 | 50 | 0.0021496
| V870 | 863 | 20 | 870 | 19.9 | 45.8012 | 5.7679 | 1.0385 | 0.0152 | 52 | 0.0021079
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)

## AATSR-MERIS Mauritania2
Participating Institution: | RAL Space
Date of Analysis: | 2010-03-30
Type of Comparison:SNO, Rayleigh, DCC, Moon, Direct Surface measured test-site, Ensemble of sites (SADE) ... | SNO
Site identifier: name, nominal location, list of ... | Mauritania2
Site Latitude: | 20.85
Site Longitude: | -8.78
Procedure Reference:
Sensor Being Compared: | AATSR
Sensor L1b Processing Version: | AATSR/6.01
Reference sensor: | MERIS | [6 empty] | The reflectance factor (sometimes referred to as normalised radiance) is defined as Rmeas = Lmeas*π/I0 Where Lmeas is the at sensor radiance, and I0­­ is the solar irradiance.
Reference sensor processing version: | MERIS/5.05
For other reference (origin of comparison values) e.g. ground measured reflectances
Nominal at sensor solar irradiance:
Special characteristic of comparison (e.g. non nadir)
Date Range of Measurements: | 2002-03-01 | 2010-12-31
Comparison Sensor/Reference: | AATSR/MERIS
| Band Name | Sensor under test |  | Reference Sensor Band |  | Reference TOA Reflectance Factor |  | Ratio Sensor/Reference |  | Number of Samples | Measurement Uncertainties
|  | Nominal Band Centre (nm) | Nominal Bandwidth (nm) | Secondary band Centre for band to band comp (nm) | Nominal bandwidth of secondary band (nm)
[6 empty] | Mean | Std Dev | Mean | Std Dev |  | Type A (statistical/ random) | Type B (non-statistical e.g. absolute caln)
| V555 | 560 | 21 | 559 | 9.95 | 20.8008 | 2.7331 | 1.026 | 0.0066 | 67 | 0.00080632
| V659 | 660 | 20 | 659 | 9.96 | 35.6851 | 4.347 | 1.0008 | 0.0056 | 63 | 0.00070553
| V870 | 863 | 20 | 870 | 19.9 | 43.9936 | 5.4107 | 1.0271 | 0.0046 | 64 | 0.000575
Additional Information
AATSR Drift Corrections Applied
Filtered For
VZA <5 degrees
SZA<80 degrees
SAZ<90 degrees
Time Coincidence <1 day
No Ozone Correction Applied
Atmospheric code used (if appropriate)